TELEMEDICINE IoT SYSTEM

PROJECT REPORT

| Submitted By | Kiruthiga B |
| --- | --- |
| Domain | Internet Of Things |
| Organization name | Codtech IT Solutions Private Limited |
| Duration | 4 Weeks |
| Internship Period | 26 June 2026 – 24 July 2026 |
| Intern ID | CITS5693 |

1. ABSTRACT

The Telemedicine IoT System is a technology-driven healthcare solution that integrates Internet of Things (IoT) devices with telemedicine platforms to enable remote patient monitoring, real-time vital sign transmission, and virtual clinical consultation. By connecting wearable biosensors and smart medical devices to a cloud-based telemedicine platform, the system allows healthcare providers to continuously monitor patients' physiological parameters from any location, reducing the need for hospital visits and improving access to healthcare in rural and remote areas.

This project focuses on the design, architecture, and implementation of a telemedicine-enabled IoT framework incorporating sensors for temperature, heart rate, blood pressure, SpO2, and ECG monitoring, integrated with a secure data transmission pipeline and a physician-facing dashboard.

2. INTRODUCTION

Telemedicine refers to the delivery of healthcare services using digital communication technologies, enabling remote diagnosis, monitoring, and treatment. The integration of IoT with telemedicine has transformed traditional healthcare delivery by enabling continuous, real-time collection and transmission of patient health data without requiring physical presence at a healthcare facility.

IoT-enabled telemedicine systems deploy wearable and ambient sensors to measure vital signs, transmit data securely to cloud servers, and present processed information to clinicians through web or mobile dashboards. This paradigm is especially impactful for elderly patients, individuals with chronic diseases, and populations in medically underserved regions.

2.1 Motivation

- Rising burden of chronic diseases (diabetes, hypertension, cardiovascular disorders)

- Shortage of healthcare professionals in rural and remote areas

- High cost and inconvenience of frequent hospital visits

- Need for continuous monitoring rather than episodic clinical assessments

- Advances in low-cost, miniaturized biosensors and wireless communication

3. PROBLEM STATEMENT

Traditional healthcare systems require patients to visit hospitals for routine monitoring, which is impractical for elderly, disabled, or geographically isolated individuals. Manual recording of vitals is error-prone and provides only a snapshot of health status, missing critical fluctuations. There is a need for an automated, connected system that enables continuous remote monitoring with real-time alerts and secure physician access.

| Challenge | Impact |
| --- | --- |
| Limited access to hospitals in rural areas | Delayed diagnosis and treatment |
| No continuous monitoring at home | Missed critical health deterioration |
| Manual vital recording errors | Inaccurate clinical decisions |
| Lack of real-time physician alerts | Delayed emergency response |
| Patient data security risks | Privacy violations and data breaches |
| High cost of in-hospital monitoring | Financial burden on patients and families |

4. OBJECTIVES

- Design an IoT-based patient monitoring system for remote telemedicine

- Enable real-time acquisition and wireless transmission of vital signs

- Develop a cloud-connected platform for secure data storage and retrieval

- Provide a physician dashboard for remote patient monitoring and alerts

- Implement automated threshold-based emergency alerts for critical readings

- Ensure data security and patient privacy through encryption protocols

- Demonstrate system integration using simulated IoT sensor data

5. SYSTEM ARCHITECTURE

The Telemedicine IoT System is organized into four functional layers, each handling a specific aspect of data flow from patient to physician.

| Layer | Components | Function |
| --- | --- | --- |
| Sensor/Device Layer | Wearable biosensors, smart patches, ECG leads | Capture patient physiological data in real time |
| Edge/Gateway Layer | Raspberry Pi, Arduino, ESP32, IoT Gateway | Preprocess sensor data and transmit to cloud |
| Cloud/Server Layer | Cloud database, analytics engine, API server | Store, process, and manage patient health data |
| Application Layer | Web dashboard, mobile app, alert system | Visualize data and notify physicians and patients |

5.1 Data Flow

- Patient wears biosensors that continuously measure vital parameters

- Sensor data is collected and preprocessed by the IoT gateway (Arduino/Raspberry Pi)

- Gateway transmits data securely to the cloud server via Wi-Fi or GSM/4G

- Cloud server stores data in a structured database and runs analytics

- Threshold engine checks readings against normal ranges and triggers alerts

- Physician accesses real-time and historical data through the web dashboard

- Automated SMS/email alerts sent to physician and patient on abnormal readings

6. IoT SENSORS & DEVICES USED

| Parameter | Sensor / Module | Normal Range | Interface |
| --- | --- | --- | --- |
| Body Temperature | DS18B20 / MLX90614 | 36.1°C – 37.2°C | 1-Wire / I2C |
| Heart Rate | MAX30100 / MAX30102 | 60 – 100 BPM | I2C |
| SpO2 (Oxygen Saturation) | MAX30100 / MAX30102 | 95% – 100% | I2C |
| Blood Pressure | BMP280 / MPX5050 | 120/80 mmHg | I2C / Analog |
| ECG | AD8232 ECG Module | Normal sinus rhythm | Analog |
| Blood Glucose | Non-invasive glucose sensor | 70 – 140 mg/dL | Analog |
| Patient Movement | MPU6050 Accelerometer | Activity/Fall detection | I2C |

7. COMMUNICATION TECHNOLOGIES

| Technology | Protocol | Use Case | Range |
| --- | --- | --- | --- |
| Wi-Fi (IEEE 802.11) | MQTT / HTTP | Home-based patient monitoring | ~50 m indoors |
| Bluetooth BLE | BLE 5.0 | Wearable to gateway communication | ~10 m |
| GSM / 4G LTE | MQTT / REST API | Rural/remote monitoring | Nationwide |
| Zigbee | IEEE 802.15.4 | Low-power sensor networks | ~100 m |
| LoRaWAN | LoRa Protocol | Long-range rural deployments | ~15 km |

MQTT (Message Queuing Telemetry Transport) is the preferred protocol for IoT telemedicine systems due to its lightweight nature, low bandwidth consumption, and publish-subscribe architecture ideal for real-time sensor data streaming.

8. SOFTWARE & PLATFORM

8.1 Hardware Platform

- Arduino Uno / Mega — sensor interfacing and data acquisition

- Raspberry Pi 4 — IoT gateway, local processing, and Wi-Fi transmission

- ESP32 / ESP8266 — low-cost Wi-Fi enabled microcontroller for sensor nodes

8.2 Software Stack

| Component | Technology Used |
| --- | --- |
| Microcontroller Programming | Arduino IDE (C/C++) |
| Gateway Software | Python 3.x on Raspberry Pi |
| Communication Protocol | MQTT (Mosquitto Broker) |
| Cloud Platform | AWS IoT Core / ThingSpeak / Firebase |
| Database | MySQL / InfluxDB (time-series data) |
| Web Dashboard | Python Flask / Node.js + HTML/CSS |
| Mobile Application | MIT App Inventor / Flutter |
| Data Visualization | Grafana / Chart.js |
| Alert System | Twilio SMS API / SMTP Email |

9. IMPLEMENTATION & METHODOLOGY

9.1 Phase 1 — Sensor Integration

Biosensors are connected to the Arduino microcontroller via I2C and analog interfaces. The Arduino reads sensor values at defined intervals (every 5 seconds) and transmits raw data to the Raspberry Pi gateway via serial communication.

9.2 Phase 2 — Gateway Processing

The Raspberry Pi gateway receives raw sensor data, applies calibration formulas, and formats the data as JSON packets. It then publishes the data to the MQTT broker under patient-specific topic channels (e.g., patient/001/vitals).

9.3 Phase 3 — Cloud Storage & Analytics

The cloud server subscribes to MQTT topics and stores incoming data in a time-series database. An analytics engine continuously evaluates readings against predefined normal thresholds and logs any anomalies for physician review.

9.4 Phase 4 — Alert Generation

When a sensor reading exceeds the normal threshold (e.g., SpO2 below 94%, heart rate above 120 BPM, temperature above 38.5°C), the system automatically sends an SMS alert to the assigned physician and a notification to the patient's mobile application.

9.5 Phase 5 — Physician Dashboard

A web-based dashboard provides physicians with real-time graphical display of all patient vitals, historical trend charts, alert logs, and the ability to initiate a video consultation directly from the monitoring interface.

10. ALERT THRESHOLD TABLE

| Vital Parameter | Normal Range | Alert Threshold | Action Triggered |
| --- | --- | --- | --- |
| Body Temperature | 36.1°C – 37.2°C | > 38.5°C or < 35.5°C | SMS alert to physician |
| Heart Rate | 60 – 100 BPM | > 120 BPM or < 50 BPM | Emergency notification |
| SpO2 | 95% – 100% | < 94% | Immediate physician alert |
| Blood Pressure (Systolic) | < 120 mmHg | > 140 mmHg | Hypertension alert |
| Blood Glucose | 70 – 140 mg/dL | > 180 or < 60 mg/dL | Diabetic alert sent |
| Respiratory Rate | 12 – 20 breaths/min | > 25 or < 10 | Critical alert triggered |

11. APPLICATIONS

| Domain | Application |
| --- | --- |
| Chronic Disease Management | Continuous monitoring of diabetes, hypertension, and heart disease patients |
| Post-Surgical Care | Remote monitoring of patients after hospital discharge |
| Elderly Care | 24/7 automated health surveillance for elderly living alone |
| Rural Healthcare | Bringing specialist healthcare access to remote villages |
| COVID-19 / Epidemic Control | Remote quarantine monitoring of infected patients |
| Mental Health Monitoring | Tracking physiological stress indicators remotely |
| Sports Medicine | Real-time athlete health monitoring during training |

12. ADVANTAGES & LIMITATIONS

12.1 Advantages

- Enables continuous 24/7 patient monitoring without hospital admission

- Reduces healthcare costs by minimizing unnecessary hospital visits

- Provides real-time alerts enabling rapid clinical response to emergencies

- Improves healthcare access for rural and geographically isolated patients

- Automated data collection eliminates manual recording errors

- Scalable to monitor multiple patients simultaneously from a single dashboard

12.2 Limitations

- Reliable internet connectivity is essential for real-time data transmission

- Sensor accuracy may be affected by patient movement or improper placement

- Data privacy and security concerns require robust encryption measures

- Battery life of wearable devices limits continuous monitoring duration

- Regulatory compliance (FDA, HIPAA, IT Act) adds complexity to deployment

13. CONCLUSION

The Telemedicine IoT System represents a significant advancement in the convergence of healthcare and technology. By integrating wearable biosensors with cloud-based telemedicine platforms, this project demonstrates a practical and scalable solution for continuous remote patient monitoring. The system addresses critical gaps in healthcare delivery — particularly for elderly, chronically ill, and geographically isolated patients — by providing real-time vital sign monitoring, automated emergency alerts, and seamless physician access to patient data.

With further development incorporating AI-based predictive analytics, this system has the potential to transition healthcare from a reactive to a proactive model, identifying health deterioration before it becomes critical. The Telemedicine IoT System thus stands as a foundational project in the future of connected, patient-centered healthcare.

14. REFERENCES

1. Istepanian, R.S.H. & Woodward, B. (2016). m-Health: Fundamentals and Applications. IEEE Press / Wiley.

2. Islam, S.M.R. et al. (2015). The Internet of Things for Health Care: A Comprehensive Survey. IEEE Access, 3, 678–708.

3. Ullah, K. et al. (2018). IoT-Based Telemedicine System for Remote Patient Monitoring. IEEE ICIT Conference Proceedings.

4. World Health Organization. (2022). Telemedicine: Opportunities and Developments in Member States. WHO Report.

5. Patel, M. & Wang, J. (2010). Applications, Challenges, and Prospective in Emerging Body Area Networking Technologies. IEEE Wireless Communications, 17(1), 80–88.

6. ThingSpeak IoT Platform Documentation. https://thingspeak.com/docs

7. MQTT Protocol Specification v5.0. https://mqtt.org/mqtt-specification/